## Slide 1
Fermilab E989 Muon g-2 Experiment
Kyun Woo Chris Hong
CIPANP 2022
8/30/2022
University of Virginia
Argonne National Laboratory
The Magnetic Field Measurement and Systematics

## Slide 2
Table of Contents
#1,
Overview of E989
#2,
Storage Ring
#3,
NMR Technique and
Field Measurement
#4,
Calibration
#5,
Systematics
#6,
Conclusion

## Slide 3
Part 1
Overview of E989
Anomalous Magnetic Dipole of Muon
g = 2 in Dirac Equation for spin ½ particle
Anomalous magnetic moment is the value deviating from g-factor in Dirac equation

## Slide 4
Part 1
Overview of E989
Fermilab E989, the Muon g-2 experiments, goal is to measure
the anomalous magnetic dipole of the muon, to a precision of
0.14 ppm.
The main goal is to test the Standard Model’s predictions
and to search the evidence of Beyond Standard Model (BSM) and New Physics (NP).
Anomalous Magnetic Dipole of Muon
g = 2 in Dirac Equation for spin ½ particle
Anomalous magnetic moment is the value deviating from g-factor in Dirac equation

## Slide 5
Part 1
Overview of E989
= 116 591 810 (43)
= 116 592 061 (41)
= (25159) = 4.2
[unit: ]
Run 1 Result (2021)
Result to 460 ppb
Confirmed BNL experimental results
(20 years later)
The white paper from the theory invitation
[https://muon-gm2-theory.illinois.edu/white-paper/]

## Slide 6
Part 1
Overview of E989
Run 1 and Beyond
Run 1 : 6 % of total expected data
Much more data to analysis
Projected to publish Run 2/3 at the spring of 2023
Run 5 just finished few months ago (2022)
Run 6 will begin after summer shutdown with sharing the beam with mu2e experiment

## Slide 7
Part 1
Overview of E989
Overview
()

## Slide 8
Part 1
Overview of E989
Overview
()
Collaboration Measurement
: the master clock, unblinding factor
: the measured precession frequency
: four beam-dynamic corrections
: the probe calibration factor
: the field map, weighted by detected positron and muon distribution averaged over space and time.
: Two fast magnetic transient correction

## Slide 9
Part 2
E989 Muon g-2 Storage Ring
Overview

## Slide 10
Part 2
E989 Muon g-2 Storage Ring
Overview
▶ Injection
Polarized anti-muon bunch (3.1 GeV) is injected into the storage ring (~14 m diameter).
Superconducting inflector magnet cancels the main focusing magnetic field (1.45 T) to inject the bunch into the storage ring tangentially.

## Slide 11
Part 2
E989 Muon g-2 Storage Ring
Overview
▶ Injection
Polarized anti-muon bunch (3.1 GeV) is injected into the storage ring (~14 m diameter).
Superconducting inflector magnet cancels the main focusing magnetic field (1.5 T) to inject the bunch into the storage ring tangentially.
▶ Kickers
Muons are kicked onto the design orbit by the fast non-ferric kicker magnet system.

## Slide 12
Part 2
E989 Muon g-2 Storage Ring
Overview
▶ Injection
Polarized anti-muon bunch (3.1 GeV) is injected into the storage ring (~14 m diameter).
Superconducting inflector magnet cancels the main focusing magnetic field (1.5 T) to inject the bunch into the storage ring tangentially.
▶ Kickers
Muons are kicked onto the design orbit by the fast non-ferric kicker magnet system.
▶ Vertical focusing
Electrostatic Quadrupoles (ESQ) focuses the beam vertically.
4 Quadrupole sections (long and short for each) cover 43% of the circumference

## Slide 13
Part 2
E989 Muon g-2 Storage Ring
Overview
▶ Injection
Polarized anti-muon bunch (3.1 GeV) is injected into the storage ring (~14 m diameter).
Superconducting inflector magnet cancels the main focusing magnetic field (1.5 T) to inject the bunch into the storage ring tangentially.
▶ Kickers
Muons are kicked onto the design orbit by the fast non-ferric kicker magnet system.
▶ Vertical focusing
Electrostatic Quadrupoles (ESQ) focuses the beam vertically.
4 Quadrupole sections (long and short for each) cover 43% of the circumference
▶ Detection
Muons decay into positrons which curl into 24 electromagnetic calorimeters surrounding the storage ring.

## Slide 14
Part 3
NMR Technique and Field Measurement
NMR Probes
Fixed Probe
Location:
Total 378 probes mounted at fixed locations outside (top and bottom) of the muon orbit
Purpose:
Continuously monitor field drift while muons are present in the ring
Trolley Probe
Location:
Total 17 probes carried by trolley
Purpose:
Periodic field maps inside of the ring every 3-5 days
Fixed Probe
Fixed Probe

## Slide 15
Part 3
NMR Technique and Field Measurement
Frequency Extraction Method
RF (/2) pulse : proton spins flip from - direction to x-y plane (90 degree)
Free induction decay (FID) NMR signal digitization
Typical FID from a trolley probe
RF Pulse

## Slide 16
Part 3
NMR Technique and Field Measurement
Frequency Extraction Method
RF (/2) pulse : proton spins flip from - direction to x-y plane (90 degree)
Free induction decay (FID) NMR signal digitization
Fit window optimization and phase function extraction by using Hilbert Transform
Fit Window
Fit Window
Trolley Probe FID
Trolley Probe Phase Function

## Slide 17
Part 3
NMR Technique and Field Measurement
Frequency Extraction Method
RF (/2) pulse : proton spins flip from - direction to x-y plane (90 degree)
Free induction decay (FID) NMR signal digitization
Fit window optimization and phase function extraction by using Hilbert Transform
Linear Fit to extract the frequency
Fit Window
(t) = Phase Function
Trolley Probe Phase Function

## Slide 18
Part 3
NMR Technique and Field Measurement
Frequency vs Azimuth

## Slide 19
Part 4
Calibration
Because 17 trolley probes are in an aluminum shell, the materials perturb the magnetic field.
The correction (calibration) is needed to measure the true field.
Motivation
Notes: /2 pulse uniformity: initial amplitude of spin precession signal,
𝜋/2 pulse uniformity: initial amplitude of spin precession signal, 𝑨(𝒙,𝒚,𝒛)

## Slide 20
Part 4
Calibration
Plunging Probe
Only one special probe made at UMASS
Used as the calibration probe.
Built with well-known geometry and well-measured perturbation for absolute calibration
Because 17 trolley probes are in an aluminum shell, the materials perturb the magnetic field.
The correction (calibration) is needed to measure the true field.
Motivation

## Slide 21
Part 4
Calibration
Swap the trolley and plunging probe in the calibration region inside of the ring
Find the difference between trolley probe and plunging probe field measurement
Procedure
Few things to consider:
Need to shim the calibration region to make the local field uniform
Make sure the trolley and plunging probe position is aligned
Dependence on temperature
Inside the muon storage ring
Calibration Region
Trolley
Plunging Probe
Notes: 𝜋/2 pulse uniformity: initial amplitude of spin precession signal, 𝑨(𝒙,𝒚,𝒛)

## Slide 22
Part 4
Calibration
Result
Run 1 Calibration Result:
Avg statistical uncertainty : 11.3 ppb (0.7 Hz)
Avg systematic uncertainty: 19.4 ppb (1.2 Hz)
Blinded studies from 3 analyzers with 3 different analysis methods
The mean difference about 3 ppb (0.185 Hz) and standard deviations about 8 ppb (0.494 Hz)
Notes: The relatively large difference in calibration coefficients for probes 10, 11, 16, and 17 is likely due to the trolley wheels which are close to those probes. Estimates of the magnetic perturbations due to the additional aluminum material near the trolley wheels have been made, and are too small to account for the excursions of the calibration coefficients for probes 10, 11, 16, and 17.

## Slide 23
Part 5
Systematics
Run 1 Systematics
The goal is 70 ppb

## Slide 24
Part 5
Systematics
Run 1 Systematics
The goal is 70 ppb
Calibration
Field Tracking
Muon weightening

## Slide 25
Part 5
Systematics
Field Measurement: Statistical Uncertainty of Frequency Extraction
Depends on predominantly the length of the fit range
Use stepper run
  Move trolley 0.05 degree and stop for a moment and measure the field
  Get rid of any motion effect
Beside the inflector region, dipole resolution are < 50 ppb around the ring and average resolution about 10 ppb level

## Slide 26
Part 5
Systematics
Run 1 Systematics
The goal is 70 ppb
Largest uncertainty
Improvements to the determination of the ESQ transient from additional measurements

## Slide 27
Part 5
Systematics
Run 1 Systematics
The goal is 70 ppb
After the pulse, eddy currents are induced and perturbs the magnetic field during the measurement
Correction is measured using a Faraday magnetometer designed using no metal

## Slide 28
Part 6
Conclusion
Collaborator measurement:
Precise Field Measurement is needed to calculate anomalous muon dipole moment,
is measured by trolley, running around the ring every 3-5 days, and by fixed probe, tracking the field drift
is from the calibration of trolley probes to plunging probe, well-known geometry and well-known perturbation
Systematic studies for field measurement and ESQ and Kicker Transients
Summary

## Slide 29
Part 6
Conclusion
What we improved beyond Run 1: NMR Technique
Calibration
Automatic script implemented
Better shimming measurements.
Better temperature controls
Better alignment
NMR Technique
New Fit Window Optimization method
  implemented to the production
  Improved bad probes (short FID probes) resolutions
Upgrade Data Quality Cut (DQC) / Production campaign
Interpolation
Two separate interpolation team (blinded study)
Improve and upgrade their framework for better precision
Systematic correction and uncertainty from Run 1

## Slide 30
Part 6
Conclusion
What we improved beyond Run 1: Field Measurement
Replaced the damaged resistors after Run 1
Upgraded the experimental hall cooling system (Beyond Run 2) - Temperature
Upgraded the kickers to deflect beam on the ideal orbit (Beyond Run 2) - Kicker
Improved mapping the perturbed magnetic field resulting from quad transient field - ESQ
The goal is 70 ppb

## Slide 31
Part 6
Back-up

## Slide 32
Part 4
NMR Technique
FID (Free Induction Decay)
Typical FID from a trolley probe
/2 pulse : proton spins from - direction to x-y plane
FID signal: Proton spins precessing at angular frequency and rotating magnetic field induced EMF in the pick-up coils. Signal read out by electronics
Amplitude decays due to energy loss ( and decoherence (.

## Slide 33
Part 4
NMR Technique
FID (Free Induction Decay)
Typical FID from a trolley probe
/2 pulse : proton spins flip from - direction to x-y plane
FID signal: Proton spins precessing at angular frequency and rotating magnetic field induced EMF in the pick-up coils. Signal read out by electronics
Amplitude decays due to energy loss ( and decoherence (.
Uniform Field Model
Constant initial phase

## Slide 34
Part 6
Back up
Non-uniform FID model
: Precession angular frequencies as a function of position
: Initial amplitude of the spin precession signal as a function of position
: Response function of the coil as a function of position
Assumption:
All spins precess independently with the same time constant
The precession phase () at the end of the /2 pulse is the same for all spins
With these two assumptions, one can integrate the contribution of each spin and obtain the total signal:
where the precession angular frequency becomes space-dependent. Insert the identity operator for rewrite the equation above for final equation on slide 17

## Slide 35
Part 6
Back up
In a non-uniform field…
  Protons at different positions precess at different angular frequency,
  Initial amplitude of spin precession signal,
  The response function of the coil,
Non-uniform Field
Notes: /2 pulse uniformity: initial amplitude of spin precession signal,
𝜋/2 pulse uniformity: initial amplitude of spin precession signal, 𝑨(𝒙,𝒚,𝒛)

## Slide 36
Part 6
Back up
In a non-uniform field…
  Protons at different positions precess at different angular frequency,
  Initial amplitude of spin precession signal,
  The response function of the coil,
Non-uniform Field
Non-uniform Field Model
: signal distribution function. Usually Peak at , the frequency at the probe center.
Notes: /2 pulse uniformity: initial amplitude of spin precession signal,
𝜋/2 pulse uniformity: initial amplitude of spin precession signal, 𝑨(𝒙,𝒚,𝒛)

## Slide 37
Part 6
Back up
Hilbert Transform
FID model in a non-uniform field:

## Slide 38
Part 6
Back up
Hilbert Transform
FID model in a non-uniform field:
Let , the FID function:

## Slide 39
Part 6
Back up
Hilbert Transform
FID model in a non-uniform field:
Let , the FID function:
Uniform Field FID Model at :
Additional factor for non-uniform field

## Slide 40
Part 6
Back up
Hilbert Transform
FID model in a non-uniform field:
Let , the FID function:
Uniform Field FID Model at :
Additional factor for non-uniform field
Exactly same as the inverse Fourier Transform of .

## Slide 41
Part 6
Back up
Hilbert Transform
Ran Hong’s Note: DocDB [18347]
FID model in a non-uniform field at :
Therefore, we can write it as combination of sine and cosine:
where,
The inverse Fourier Transform of .

## Slide 42
FID model in a non-uniform field at :
Final FID model :
Part 6
Back up
Hilbert Transform
Signal Envelope
Phase Function

## Slide 43
Part 6
Back up
Zero-Crossing
Zero-cross counting:
: the number of zero-counting within the user-defined fit window
the first (last) zero-crossing the time of the data in the analysis window

## Slide 44
Part 6
Back up
Run 1 Calibration Analysis Methods
Field Oscillation:
Bingzhi: fixed probes from 90 to 180 and 200 to 290 degrees.
David: 164 fixed probes from 90 to 270 degree that are under 30 ppb resolution.
Ran: Select power supply feedback probes and reading of probe 209 and 224 (drift tracking reference data)
Field Drift:
Bingzhi: ABA method
David: ABA method
Ran: Average a data point with an error bar and a time stamp equal to the middle of the measurement period for PP. Use linear interpolation or extrapolation using nearest drift correction data point for trolley
Position Correction:
Bingzhi: Barcode Method

## Slide 45
Part 6
Back up
Run 2/3 Calibration Analysis
Run | Bingzhi | Chris H | David K
Run 2 | V |  | V
Run 3 | V | V | 
Run 4 (Pre) |  | V | V
Run 4 (Post) |  | V | V
Run 5 (Pre) |  | V | V
Run 5 (Post) – Future |  | V | V
 | Bingzhi | Chris H | David K (David Flay)
Frequency Extraction | Hilbert Transform | Hilbert Transform | Advanced zero-crossing algorithm for plunging probe
Field Oscillation | Fixed probes from 90 to 180 and 200 to 290 deg | Fixed probes from 90 to 180 and 190 to 270 deg | 164 fixed probes from 90 to 270 deg that are under 30 ppb resolution
Field Drift | ABA | ABA | ABA
Framework | Root/C++ macro | Python/gm2-package | Umass framework
Two analyzers per each Run
  Run 2 : Bingzhi and David
  Run 3 : Bingzhi and Chris
  Run 4 and beyond: Chris and David

## Slide 46
Part 6
Back up
Simulation Tool
The precessing magnetic moments (spins) generates an oscillating flux in the pick-up coil, and thus an oscillating voltage in it.
In the simulation…
  the flux through the pick-up coil generated by a spin needs to be calculated.
  Then the motion (precession) of the spin is modeled with some approximations and assumptions to simplify the calculation.
  Finally, the signals from all spins in the NMR sample are added together to form the FID output.

## Slide 47
Part 6
Back up
Simulation
Simulated FID Generation
Define the geometry of the probe
Calculate the static magnetic field generated by the coil
Define external field map
Generate spins randomly in the sample volume
Create an histogram of
For each spin, fill the bin that its belongs to by S
For each frequency bin j, generate FID vector at the sampling frequency
Sum over all frequencies in the frequency histogram to obtain the generated FID
Scale the FID to the amplitude, add baseline, add noise, and etc.

## Slide 48
Part 6
Back up
Simulation Tool
Magnetic Field at position : Single-turn coil, XY plane, with current I
Flux : with magnetic momentum,
where C is the contour along the coil, and

## Slide 49
Part 6
Back up
Systematic Uncertainty
Azimuthal Average:
: NMR frequency of external field
True Field measurement:
, for event
The sensitivity of the probe
Uncertainty:
: Weight for each measurements due to oversampling (= : that’s what we use)

## Slide 50
Part 6
Back up
Run 1 Systematic Uncertainty

## Slide 51
Part 6
Back up
Run 1 ESQ Transient Uncertainty
The ESQs are pulsed approximately every 10 ms
Cover about 43% of the storage ring azimuth
Mechanical vibrations of the charge plates result in a transient field
Special NMR probe was built to measure the effect
Measurements are mapped extensively in one quad section of the storage ring

## Slide 52
Part 6
Back up
Run 1 Kicker Uncertainty
Kickers are operated at ~220 G and creates a 150 ns pulse that rings
Cover about 8.5% of the storage ring azimuth
After the pulse, eddy currents are induced and perturbs the magnetic field during the measurement period
Correction is measured using a Faraday magnetometer designed using no metal

## Slide 53
Part 5
Uncertainty Analysis
Major Concern (Hilbert Transform)
The statistical uncertainty of extracting using at .
The accuracy of extraction using using at .
The systematic uncertainty for azimuthally averaged field
(t) = Phase Function

## Slide 54
Part 5
Uncertainty Analysis
Statistical Uncertainty
Depends on predominantly the length of the fit range
Use stepper run
  Move trolley 0.05 degree and stop for a moment and measure the field
  Get rid of any motion effect
Beside the inflator region, dipole resolution are < 50 ppb around the ring and average resolution about 10 ppb level

## Slide 55
Part 5
Uncertainty Analysis
The Fit Accuracy
The fit accuracy : the difference between the extracted and true frequency
True frequency, : evaluate from the simulation tool
where and
Trolley takes about 9000 measurements around the storage ring
Take average of 9000 events to evaluate the fit accuracy for the azimuthally averaged field
Fit Accuracy for the azimuthally averaged

## Slide 56
Part 5
Uncertainty Analysis
The systematic uncertainty for azimuthally averaged field
Trolley probe extent: ~ 15 mm
Probe sensitivity exists (shown on the left).
Sensitivity function of Trolley Long Probe
Probe Sensitivity Center
Unit: mm
Trolley Extent Coil / Sensitivity Length

## Slide 57
Part 5
Uncertainty Analysis
The systematic uncertainty for azimuthally averaged field
Trolley probe extent: ~ 15 mm
Probe sensitivity exists (shown on the left)
While trolley runs along the ring, there are some regions where trolley measures multiple times.
Animation for trolley measurements around the ring

## Slide 58
Part 5
Uncertainty Analysis
The systematic uncertainty for azimuthally averaged field
Trolley probe extent: ~ 15 mm
Probe sensitivity exists (shown on the left)
While trolley runs along the ring, there are some regions where trolley measures multiple times.
The systematic uncertainty:
the systematic difference from oversampling.
Animation for trolley measurements around the ring
Result
-0.0032 Hz 0.0092 Hz (0.052 ppb)