## Slide 1
Status of NEXT and Future Prospects
Enakshi Dey, on behalf of the NEXT collaboration
CIPANP 2025
8th-13th June, Madison, Wisconsin

## Slide 2
Neutrinoless Double Beta Decay
Unobserved,
Observed,
Standard double beta decay : → + +
Neutrinoless double beta decay : → +
Occurs in even-even nuclei
Observation would prove Majorana nature of neutrino

## Slide 3
NEXT Technology
s1
s2
Xenon alpha event in NEXT-100

## Slide 4
The NEXT Experiment
CUORE
SNO+
GERDA
KZ
EXO-200
NEXT-WHITE
Xenon gas TPC with electroluminescence (EL) amplification
Can act as both source and detection medium
Energy resolution
Linear, low noise EL amplification delivers sub-percent energy resolution at MeV scale
A. Bolotnikov, B. Ramsey /NIM. A 396 (1997) 360-370

## Slide 5
The NEXT Experiment
Energy resolution
Topology
Linear, low noise EL amplification delivers sub-percent energy resolution at MeV scale
Low density gas allows topological event reconstruction to distinguish signal from background by identifying the characteristic two-blob vs one blob electron tracks
One-blob
Signal-Like
Background-Like
Two-blob
NEXT-White Data
Xenon gas TPC with electroluminescence (EL) amplification
Can act as both source and detection medium

## Slide 6
The NEXT Experiment
Two-blob
One-blob
NEXT-White Data
Energy resolution
Topology
Scalability
Linear, low noise EL amplification delivers sub-percent energy resolution at MeV scale
Low density gas allows topological event reconstruction to distinguish signal from background by identifying the characteristic two-blob vs one blob electron tracks
Operating in gas allows topological discrimination, enabling efficient isotope use and scalability
We are here, currently taking data
Xenon gas TPC with electroluminescence (EL) amplification

## Slide 7
NEXT-100 Detector
Operating at LSC since 2024. It can hold 100 kg of xenon enriched at 90% in 136Xe (at 15 bar)

## Slide 8
Pressure Vessel & Inner Copper Shield
arXiv 2505.17848

## Slide 9
Energy & Tracking Plane
Energy Plane
Photomultiplier tubes, large photocathode area, calorimetric readout
Tracking Plane
Silicon photomultipliers record event topology

## Slide 10
EL & Cathode
JINST 19 P02007

## Slide 11
Field Cage & Light Tube
arXiv 2505.01002

## Slide 12
NEXT-100 83mKr Calibrations
S2 signal decreases with drift time due to electron attachment, allowing extraction of the electron lifetime (τₑ ≈ 24.2 ms), indicating high xenon purity.
The average S2 response across the (x, y) plane shows uniform energy map
Reconstruction of the 41.5 keV Kr peak yields a 4.7% FWHM energy resolution in full detector volume.
Which indicates a naive extrapolated energy resolutions of ~0.61% FWHM at Q

## Slide 13
Alpha Waveforms and Signals
Alpha events showing prompt S1 and delayed S2 signals
S1 vs S2 signal reveals clear signatures of ²²²Rn, ²¹⁸Po, and ²¹⁴Po alpha decays.
Events recorded during commissioning phase

## Slide 14
NEXT-100 High Energy Calibration
High energy tracks from 208Tl calibration source
Double electron candidate
1.55 MeV
Single electron candidate
2.4 MeV
Currently operating at low pressure (5 bar) will continue until fall 2025 with the goal of measuring detector performance (energy resolution, topological signature, calibration)
High pressure run (13-15 bar) starts in fall 2025 with the goal of measuring backgrounds, perform a high statistical measurement of signal and perform a search for events

## Slide 15
NEXT-100 Background
The expected background from NEXT-100 is 10 counts . ton / year in the ROI
Suppress by thicker shielding
Suppress by eliminating PMTs
Suppress by deeper location
Suppress by eliminating improved resistors

## Slide 16
NEXT-Ton Scale Program
NEXT-HD
NEXT-BOLD
1T
Ba Tagging

## Slide 17
Barium Tagging
Barium ion is produced in true decay
Identifying Ba ion with ~1% FWHM energy resolution would give a practically background free measurement
Is it plausible to detect a single barium ion in ton scale of xenon?
+
2e-
136Xe
Ba2+
First proposed by Moe in Phys.Rev.C 44 (1991) 931-934

## Slide 18
NEXT Barium Tagging Scheme
Optically detect the fluorescence using SMFI
Optically detect the fluorescence by the Ba attached molecule
decay in xenon gas will create a barium ion in high charge state
It recombines with electrons from xenon and ends up in +2 charge state in gas
SMFI Sensor
136Ba2+
Barium capture by molecule in a high pressure Xe atmosphere

## Slide 19
A non-fluorescent molecule becomes fluorescent (or vice versa) upon chelation with an incident ion.
Not fluorescent
Fluorescent
Dye
Receptor
Calcium and barium are congeners – many dyes developed for calcium are also expected to respond to barium. (recognized by Nygren, J.Phys.Conf.Ser. 650 (2015) no.1, 012002)
Single Molecule Fluorescence Imaging

## Slide 20
Ba Ion Detection
Several groups within NEXT are exploring different kinds of molecules with different properties
[1]. JINST 11 P12011 (2016)
[2]. Phys. Rev. Lett. 120, 132504 (2018)
[3]. Sci Rep 9: 15097 (2019)
[4]. Nature 583, 48 (2020)
[5]. ACS Sensors 6, 1, 192-20 (2021)
[6]. 10.26434/chemrxiv-2023-wxpbh (2023)
[7]. 10.26434/chemrxiv-2024-t81cl (2024)

## Slide 21
Ba2+ Ion Imaging in Xenon Gas
Ba2+
Single Ba2+ ion imaged in 10bar of xenon gas

## Slide 22
Next Generation Microscope
Ba2+ Beam
RF Carpet with molecular sensor
Microscope
Demonstrating full recipe of Ba tagging
Incorporating “stationary sensor” with dynamic excitation and emission optics
Dry phase ion detection using Ba beam source

## Slide 23
RF Carpet
For a “stationary sensor” approach, need to transport Ba2+ ion from large volume to small (~mm2) scan region.
RF carpets can be used to transport ions laterally to focus them down to sensor resolution (So far realized in 10s of mTorrs and low mass buffer gas like He)
To make RFC work in dense xenon gas traditional methods won’t work because of instability in high pressure/ large transverse voltages
An N-phased RF-array can be a suitable choice to overcome some of these problems
https://doi.org/10.1016/j.nima.2022.167000

## Slide 24
4-Phase RF Carpet
Demonstrated highest ever pressure RF Carpet operation and in xenon gas using Cs+ ion matom = mgas
But still far from reaching the barium tagging pressure
Go high voltage
Lower pitch size
Next gen:
Pitch=20um
Cr+Cu microfab on Fused Silica
(1-5 bar)
Current gen:
Pitch=160um
PCB on polyimide
arxiv:2501.18690

## Slide 25
Electrode
Electrode
SMFI pad on integrated chip
BIT
For full-detector coverage, we are developing photonic chip-based implementation with the UTA Nanofab center.
NuBit incorporates integrated optical microscopy, buried waveguide excitation, and microfabricated RF carpets.

## Slide 26
Summary
NEXT100 is currently under operation and taking physics data.
It has achieved an electron lifetime of ~24 ms, high for a gas detector and demonstrates excellent energy resolution with krypton calibration.
Barium tagging may offer a major increase in sensitivity if it can be realized.
Single ion imaging with SMFI in high pressure Xe gas has already been realized.
Significant advancements has been achieved regarding ion manipulation

## Slide 27
Thank You

## Slide 28
Backups

## Slide 29
In order to probe the IH requires large exposure and tiny backgrounds
A Xe detector with an efficiency of 30% requires ∼ 50 kton· year to reach ()-1 ∼ 3.5 × 1027(1028), for a background 1/2 of 1(0.1)/ton/year in the ROI (1 FWHM).
This necessitates fiducial masses at (multi)-ton scale, extended exposure times — which in turn demand long-term stability — and detectors that combine strong background rejection with exceptionally low intrinsic radioactivity
Challenge of Experiment

## Slide 30
Background Model Dependent
Background Model Independent
=
=
NEXT White Data

## Slide 31
Backgrounds from KZ, current world leader
Backgrounds

## Slide 32
Out with the old…
And in with the new!
Sci. Rep. 9, 15097 (2019) ACS Sens 2021, 6, 1, 192–202
Ba Tagging Molecules