## Slide 1
David M. Webber
University of Illinois at Urbana-Champaign
For the MuLan Collaboration
A new determination of the positive muon lifetime to part per million precision

## Slide 2: Motivation
gives the Fermi Constant to very high precision (actually Gm)
needed for “reference” lifetime for precision muon capture experiments
  MuCap: m- + p
  MuSun: m- + d
Capture rate from lifetime difference m- and m+

## Slide 3: The Fermi constant is related to the electroweak gauge coupling g by
Dq
In the Fermi theory, muon decay is a contact interaction where Dq includes phase space, QED, hadronic and radiative corrections
Contains all weak interaction loop corrections
In 1999, van Ritbergen and Stuart completed full 2-loop QED corrections reducing the uncertainty in GF from theory to < 0.3 ppm (it was the dominant error before)

## Slide 4
Fast-switching electric kicker on
Fill Period
Measurement Period
time
Number (log scale)
-12.5 kV
12.5 kV
Real data
B
100% polarized muons at ~4 MeV
Rapidly precess
The experimental concept in one animation …
Kicker Systematic Uncertainty < 0.2 ppm

## Slide 5: 170 scintillator tile pairs readout using 450 MHz waveform digitizers.
2 Analog Pulses
Waveform
Digitizers
1/6 of system
1 clock tick = 2.2 ns
Uncertainty from electronics stability: 0.26 ppm
x2

## Slide 6: MuLan collected two datasets, each containing 1012 muon decays.
Two (very different) data sets
  2006:
    Ferromagnetic target dephases muon ensemble
    1.18 ppm statistical uncertainty
  2007:
    Quartz target forms 90% muonium, 10% free (precessing) muons
    1.7 ppm statistical uncertainty
Ferromagnetic Target, 2006
Quartz Target, 2007

## Slide 7: Fits of raw waveforms using Templates
A difficult fit
Normal Pulse
Two pulses close together
>2 x 1012 / data set
>135 TBytes raw data

## Slide 8: Leading order pileup
Measured t vs. Deadtime
Raw Spectrum
Pileup
Corrected
Same probability
Statistically reconstruct
pileup time distribution
Fit corrected distribution
Pileup Time
Distribution
Normal Time
Distribution

## Slide 9: Pileup to sub-ppm requires higher-order terms
12 ns deadtime, pileup has a 5 x 10-4 probability at our rates
Proof of procedure validated with detailed Monte Carlo simulation
  Over 1012 MC events generated
1 ppm
150 ns deadtime range
Artificial Deadtime (ct)
R (ppm)
Pileup terms at different orders …
uncorrected

## Slide 10: Lifetime vs artificially imposed deadtime window is an important diagnostic
1 ppm
150 ns deadtime range
Artificial Deadtime (ct)
R (ppm)
A slight slope exists, which we continue to investigate
Extrapolation to 0 deadtime should be correct answer and our indications are that this extrapolation is right
Pileup Correction Uncertainty: 0.2 ppm

## Slide 11: 2006: Fit of 30,000 AK-3 pileup-corrected runs
R vs fit start time
Red band is the set-subset allowed variance
22 ms
ppm tm + Dsecret
Clock Ticks (1 clock tick ~ 2.2 ns)

## Slide 12: 2007: Quartz data fits well as a simple sum, exploiting the symmetry of the detector. The mSR remnants vanish.

## Slide 13: MuLan Systematic Uncertainties (preliminary)
Source | 2006 (ppm) | 2007 (ppm)
Kicker stability | 0.22 | 0.07
Clock calibration | 0.03 | (same as 2006)
Errant muon stops | 0.10 | (same as 2006)
Gain stability vs time | 0.70 | (same as 2006)
Gain stability vs dt | 0.27 | (same as 2006)
Timing stability vs time | 0.09 | (same as 2006)
Timing stability vs dt | 0.08 | (same as 2006)
Electronic readout stability | 0.26 | (same as 2006)
Pileup correction | 0.20 | (same as 2006)
Residual polarization | n/a | 0.20
Total Systematic (0.51 common) | 0.86 | 0.86
Statistical Uncertainty | 1.18 | 1.7
tm in common blinded space (compared Feb 8, 2010) | 4901.55 | 4901.83
Total Uncertainty: 1.3 ppm
For the rest of the talk I will use 1.3 ppm, but it should decrease as studies finalize.
D=0.3 ppm!

## Slide 14: New MuLan Result Lifetime value final, preliminary error will decrease
MuLan 2007:  = 2196980.7 ± 3.7(stat) ± 1.9(sys) ps
GF = 1.166 381 8 (8) x 10-5 GeV-2 (0.7 ppm)*
2006 & 2007 avg:  = 2196980.3 ± 2.8 ps (1.3 ppm)
*includes 0.43 ppm shift on Δq from linear me term (Pak & Czarnecki, 2008)
MuLan 2006:  = 2196980.1 ± 2.6(stat) ± 1.9(sys) ps

## Slide 15
MuLan 2004
FAST

## Slide 16
MuLan Collaborators
2007
2006
2004
Institutions:
University of Illinois at Urbana-Champaign
University of California, Berkeley
TRIUMF
University of Kentucky
Boston University
James Madison University
Groningen University
Kentucky Wesleyan College

## Slide 17: MuLan measured the muon lifetime to ppm-level precision.
MuLan measurement is most precise (and accurate)
MuLan  = 2196980.3 ± 2.8 ps
Lifetime value final, preliminary error will decrease
  Combined uncertainty 1.3 ppm
GF = 1.166 381 8(8) x 10-5 GeV-2